## Slide 1: Spreader Data Processing And Results
Updated 2026-08-28

## Slide 2: Workflow Overview
1. Sync-check raw force and raw theta traces across interventions.
2. Apply force/theta filters only (no theta0 extraction yet).
3. Apply preload removal + theta0 baseline extraction + ramp-start detection with theta snap.
4. Mark transition-flagged cycles as ineligible.
5. Fit force-tip linear region using displacement >= 0 mm points (some cycles can fail fit criteria).
6. Fit moment-theta linear region using theta >= 0 deg points (some cycles can fail fit criteria).

## Slide 3: Step 1: Raw Force-Theta Sync Check
All interventions stacked before filtering/corrections.

## Slide 4: Step 2: Filtering Only (No Theta0 Yet)
Filtered force/theta signals only; no theta0 extraction or preload removal in this step.

## Slide 5: Step 3: Preload Removal + Theta0 + Ramp-Start Snap
Signals after preload removal, theta0 baseline extraction, and ramp-start detection with theta snap.

## Slide 6: Step 4: Mark And Exclude Ineligible Cycles
Step 4: Cycle Eligibility (Transition-Flag Filtering)
Intervention n_cycles eligible ineligible
---------------------------------------------------------
FBF 9 9 0
FUF 9 9 0
Intact 9 9 0
PUF 9 9 0
Posterior Release 10 10 0
SPO 9 6 3
Rule: transition-flagged cycles are excluded from stiffness fitting.
Note: ineligible here only counts transition_flag=True cycles.
Additional exclusions can occur later at fit stage (separate from transition flags):
Intervention force-fit excluded moment-fit excluded
--------------------------------------------------------------
FBF 0 0
FUF 0 0
Intact 1 1
PUF 0 0
Posterior Release 0 0
SPO 3 3

## Slide 7: Step 5A: Force-Tip Linear Region Fitting: Intact
Cycle-wise linear windows and per-cycle stiffness (fit uses displacement >= 0 mm; shared force y-limits) for Intact.

## Slide 8: Step 5A: Force-Tip Linear Region Fitting: PUF
Cycle-wise linear windows and per-cycle stiffness (fit uses displacement >= 0 mm; shared force y-limits) for PUF.

## Slide 9: Step 5A: Force-Tip Linear Region Fitting: FUF
Cycle-wise linear windows and per-cycle stiffness (fit uses displacement >= 0 mm; shared force y-limits) for FUF.

## Slide 10: Step 5A: Force-Tip Linear Region Fitting: FBF
Cycle-wise linear windows and per-cycle stiffness (fit uses displacement >= 0 mm; shared force y-limits) for FBF.

## Slide 11: Step 5A: Force-Tip Linear Region Fitting: Posterior Release
Cycle-wise linear windows and per-cycle stiffness (fit uses displacement >= 0 mm; shared force y-limits) for Posterior Release.

## Slide 12: Step 5A: Force-Tip Linear Region Fitting: SPO
Cycle-wise linear windows and per-cycle stiffness (fit uses displacement >= 0 mm; shared force y-limits) for SPO.

## Slide 13: Step 5B: Linear Stiffness Results Across Interventions
Mean ± SD from valid cycles (force-tip linear-region stiffness).

## Slide 14: Linear Stiffness Ranking
Step 6A Results: Linear-Region Force-Tip Stiffness
Rank Intervention median [N/mm] mean [N/mm] n_valid/n_cycles
--------------------------------------------------------------------------
1 SPO 8.158 7.037 6/9
2 FUF 8.158 7.851 9/9
3 Posterior Release 7.716 8.775 10/10
4 PUF 7.170 7.450 9/9
5 FBF 7.086 6.495 9/9
6 Intact 4.011 5.483 8/9

## Slide 15: Step 6A: Moment-Theta Processing: Intact
Cycle-wise rotational stiffness processing (fit uses theta >= 0 deg; shared theta limits) for Intact.

## Slide 16: Step 6A: Moment-Theta Processing: PUF
Cycle-wise rotational stiffness processing (fit uses theta >= 0 deg; shared theta limits) for PUF.

## Slide 17: Step 6A: Moment-Theta Processing: FUF
Cycle-wise rotational stiffness processing (fit uses theta >= 0 deg; shared theta limits) for FUF.

## Slide 18: Step 6A: Moment-Theta Processing: FBF
Cycle-wise rotational stiffness processing (fit uses theta >= 0 deg; shared theta limits) for FBF.

## Slide 19: Step 6A: Moment-Theta Processing: Posterior Release
Cycle-wise rotational stiffness processing (fit uses theta >= 0 deg; shared theta limits) for Posterior Release.

## Slide 20: Step 6A: Moment-Theta Processing: SPO
Cycle-wise rotational stiffness processing (fit uses theta >= 0 deg; shared theta limits) for SPO.

## Slide 21: Step 6B: Rotational Stiffness Results Across Interventions
Mean ± SD from valid cycles (moment-theta stiffness).

## Slide 22: Rotational Stiffness Ranking
Step 6B Results: Moment-Theta Rotational Stiffness
Rank Intervention median [Nm/deg] mean [Nm/deg] n_valid/n_cycles
---------------------------------------------------------------------------
1 SPO 2.476 2.136 6/9
2 FUF 2.476 2.383 9/9
3 Posterior Release 2.342 2.663 10/10
4 PUF 2.176 2.261 9/9
5 FBF 2.151 1.971 9/9
6 Intact 1.217 1.664 8/9

## Slide 23: Appended Update: Fit-Point Rules
This version appends re-analysis results with explicit fit-point thresholds.
Displacement stiffness fitting: use only displacement >= 0 mm points.
Rotational stiffness fitting: use only theta >= 0 deg points.
All rankings/tables in this deck reflect these updated fit-selection rules.

## Slide 24: Appendix: Filters Used
Median filter (theta, kernel=5): replaces each sample with local median; removes isolated spikes while preserving step/ramp edges better than mean smoothing.
Butterworth low-pass (order=2): force cutoff=1.5 Hz, theta cutoff=1.2 Hz; attenuates high-frequency noise while preserving low-frequency cycle shape and phase reasonably well.
MAD despiking before low-pass: force window=11, z=3.5; theta window=15, z=3.5; robust outlier suppression using rolling median absolute deviation.
Pseudo-ramp rejection: keep cycles only if run_samples>=30, rise_time>=1.2 s, and theta_rise>=0.2 deg.
Duplicate-peak merge: close peaks are clustered and only strongest candidate retained (time-gap bounds 2.5 to 10.0 s).
Theta0 calibration filter: estimate zero-angle from low-force samples (<5% Fmax) but exclude low-force blocks with |median theta|>1.0 deg.
Ramp-start theta snap: move force-based ramp start to nearest theta~0 in early ramp window (1.5 s), unless start is already non-neutral (|theta|>1.5 deg).
Linear-fit point constraints: displacement fits use x>=0 mm; moment-theta fits use theta>=0 deg; flat low-slope segments removed before regression.

## Slide 25: Key Takeaways
Step-wise processing narrows from raw traces to quality-controlled cycles.
Results are reported in two complementary stiffness spaces:
force-tip (N/mm) and moment-theta (Nm/deg).
Rankings are based on median stiffness across valid cycles.
Fit-point constraints are displacement >= 0 mm and theta >= 0 deg.